Terra Court 3 & 4 - Technical Specifications:

Main Structure:

- Reinforced concrete frame, designed to local earthquake codes and regulations.

- External walls - blocks of 25 cm thickness for high insulation with additional 8 cm of thermal insulation.

- Spatula and Grafiato with a combination of HPL.

- Concrete roof thermally insulated and waterproof elastomeric membrane.

Internal:

- Internal walls constructed of hollow blocks and three layers of plaster.

- Internal walls with spatula and three coats of emulsion paint.

- Staircase dressed in tiles or marble. *

Ceilings:

- Concreate treated with two coats of spatula and three coats of emulsion.

- In Bathrooms, kitchens & corridors plaster boards treated with two coats of spatula and three coats of emulsion. *

Doors & Windows:

- Entrance Doors - security door class 4, internal & externally laminate, Fireproof 45 min, security lock, wood door frame, and stainless-steel handle. *

- Interior Doors – Finish in laminate mat, wood door frame, with chrome lever handles.

- Aluminium Thermal windows with double glazing, low emissivity, embedded handles.

Kitchen Cabinets & Countertops:

- Melamine cabinets with choice of colours for doors and choice of handles. *

- Choice of artificial marble / quartz Countertops. *

- Stainless steel single bowl sink with modern single lever pull-out kitchen faucet. *

Floors & Tiles:

- Large luxurious “marble looking” porcelain tiles (120 x 60) in living room, dining room, kitchen, and corridors. *

- Luxurious “marble looking” Porcelain tiles (60 x 60) in bathroom floors. *

- Luxurious “marble looking” Porcelain tiles (120 x 60) on all bathroom walls. *

- Non slippery tiles (60 x 60) in Verandas & roof garden (if applicable) *

- Quality laminated parquet fitted over acoustical membrane on Bedroom floors. *

- Kitchen back splash with porcelain tiles (30 x 60). *

Lighting:

- Internal light fixtures through the apartment. *

- Pendant lights above kitchen island. *

- LED Spotlights in reflected ceilings (corridors, Bathrooms & Kitchen). *

Sanitary Ware:

- High Quality modern fixtures brands such as LAUFEN & GROHE or equivalent. *

- Cabinets: Vanity & mirror. *

General:

- ENERGY EFFICIENCY CATEGORY A.

- OUTDOOR POOL with relaxation area. (located In Terra 4 for the usage of Terra 3 & 4 Owners)

- INDOOR GYM (located In Terra 4 for the usage of Terra 3 & 4 Owners).

- Provision for Air Conditioning & Heat Pump split units in each bedroom & living room.

- Provision for electrical heaters.

- Provision of external socket for electrical car for each apartment.

- Specious & functional designed large wardrobe in each bedroom.

- Reserve water tank, and solar panel with electric water heater for each apartment.

- Provision for Jacuzzi on the roof garden terrace (in units where it’s applicable).

- Provision for W / C on the roof terrace ((in units where it’s applicable).

- Provision for kitchen on the roof garden terrace. (in units where it’s applicable).

- Provision for Pergola on the roof terrace (in units where it’s applicable).

- Provision for kitchen hood.

- MRL elevator with internal cabinet finished with stainless steel.

- Intercom system connected from entrance on ground floor to each individual apartment.

- Covered parking space & Storeroom for each apartment.

* Developer’s Choice